## Cover
RWE generation asset list
as of 31 December 2022 incl. operating portfolio from CEB acquisition
Note: Rounding differences may occur.

## Accounting treatment RES assets
Accounting treatment1 of renewable assets
| Model 1 | Model 2 | Model 3a | Model 3b | Model 4
| Included in the consolidated financial statements |  | Equity method | Joint operations | Other investments
RWE share of project2 | 100% | >50%, < 100% | >20%, = < 50% | >20%. = < 50% | >0% - 20%
Capacity view
Pro rata MW | 100% | pro rata | pro rata | pro rata | pro rata
Accounting MW | 100% | 100% | n/a | pro rata | n/a
Profit and loss statement
Contribution to EBITDA | 100% | 100% | 0% | pro rata | 0%
Contribution to depreciation | 100% | 100% | 0% | pro rata | 0%
Contribution to EBIT | 100% | 100% | 0% | pro rata | 0%
Contribution to at equity income in EBIT/DA | n/a | n/a | pro rata | n/a | n/a
Contribution to income other investments in EBIT/DA | n/a | n/a | n/a | n/a | pro rata
Minorities | n/a | (100% - RWE share) | n/a | n/a | n/a
Cash flow statement
Consideration in operating cash flow | 100% | 100% | pro rata3 | pro rata | pro rata3
Consideration in investing cash flow | 100% | 100% | pro rata4 | pro rata | pro rata4
Consideration in financing cash flow5 | n/a | (100% - RWE share) | n/a | n/a | n/a
Balance sheet assets
Consolidated assets | 100% | 100% | n/a | pro rata | n/a
Equity investments | n/a | n/a | pro rata | n/a | n/a
Other investments | n/a | n/a | n/a | n/a | pro rata
1 Accounting treatment refers to list of shareholding tables in RWE’s annual report.
2 RWE’s share of project corresponds to the voting rights and no adverse provisions in shareholders agreement are agreed, which would influence RWE’s ability to control that company.
3 Dividend.
4 Capital & shareholder loan increase/decrease.
5 Disregarding any financing structure (e.g. tax equity, project financing etc.).

## RWE Asset List wind,solar
Power plant | Technology | Country | Commissioned | Net capacity | RWE's legal | Accounting | Pro rata | Accounting treatment | Support regime | Support expiry | Total production 2020 (MWh) | Total production 2021 (MWh) | Total production 2022 (MWh)
[5 empty] | share | view | view
|  |  |  | MW | % | MW | MW
Offshore wind
Greater Gabbard | Offshore wind | UK | 2012 | 504 | 50% | 252 | 252 | 3b | ROC | 2032 | 960328 | 816218 | 783427
Gwynt y Mor | Offshore wind | UK | 2015 | 576 | 50% | 288 | 288 | 3b | ROC | 2035 | 925154.971 | 737300 | 846249
Rhyl Flats | Offshore wind | UK | 2009 | 90 | 50.1% | 90 | 45.09 | 2 | ROC | 2029 | 302705 | 250795 | 267420
Galloper | Offshore wind | UK | 2018 | 352.8 | 25% | 0 | 88.2 | 3a | ROC | 2037 | - | - | -
Humber 1 | Offshore wind | UK | 2015 | 108 | 51% | 108 | 55.08 | 2 | ROC | 2035 | 467462 | 375975.44 | 421699
Humber 2 | Offshore wind | UK | 2015 | 111 | 51% | 111 | 56.61 | 2 | ROC | 2035 | 438690 | 373417.44 | 407695
London Array LARYW-1 | Offshore wind | UK | 2013 | 154.8 | 30% | 46.44 | 46.44 | 3b | ROC | 2032 | 192044 | 171306.511 | 160551.625
London Array LARYW-2 | Offshore wind | UK | 2013 | 158.4 | 30% | 47.52 | 47.52 | 3b | ROC | 2032 | 196034 | 144878.311 | 143544.325
London Array LARYW-3 | Offshore wind | UK | 2013 | 158.4 | 30% | 47.52 | 47.52 | 3b | ROC | 2032 | 194179 | 165091.711 | 160168.825
London Array LARYW-4 | Offshore wind | UK | 2013 | 158.4 | 30% | 47.52 | 47.52 | 3b | ROC | 2032 | 193866 | 166659.511 | 157069.225
Rampion 1 | Offshore wind | UK | 2018 | 200.1 | 50.1% | 200.1 | 100.2501 | 2 | ROC | 2037 | - | 465752.946 | 695381.5
Rampion 2 | Offshore wind | UK | 2018 | 200.1 | 50.1% | 200.1 | 100.2501 | 2 | ROC | 2037 | - | 459820.946 | 683144.5
Robin Rigg East | Offshore wind | UK | 2010 | 84 | 100% | 84 | 84 | 1 | ROC | 2030 | 299539 | 220953.12 | 251305
Robin Rigg West | Offshore wind | UK | 2009 | 90 | 100% | 90 | 90 | 1 | ROC | 2029 | 328591 | 251070.302 | 289467
Scroby Sands | Offshore wind | UK | 2004 | 60 | 100% | 60 | 60 | 1 | ROC | 2027 | 191564 | 152910.121 | 160340
Triton Knoll | Offshore wind | UK | 2022 | 857.25 | 59% | 857.25 | 505.7775 | 2 | CfD | 2037 | - | 804242 | 2385555
Karehamn | Offshore wind | Sweden | 2013 | 48 | 100% | 48 | 48 | 1 | Green Certificate | 2028 | 237200 | 196130 | 187554
Nordsee Ost | Offshore wind | Germany | 2015 | 295.2 | 100% | 295.2 | 295.2 | 1 | Other | 2034 | 936048.77 | 837820.357 | 853046.618
Nordsee One | Offshore wind | Germany | 2017 | 332.1 | 15% | 0 | 49.815 | 4 | Other | 2037 | - | - | -
Alpha Ventus 1 | Offshore wind | Germany | 2010 | 30 | 26.25% | 0 | 7.875 | 3a | FiT1 | 2030 | - | - | -
Alpha Ventus 2 | Offshore wind | Germany | 2009 | 30 | 26.25% | 0 | 7.875 | 3a | FiT1 | 2029 | - | - | -
Amrumbank West | Offshore wind | Germany | 2015 | 302.4 | 100% | 302.4 | 302.4 | 1 | FiT2 | 2035 | 1145527.733 | 973361.981 | 1041563.881
Arkona-Becken Südost | Offshore wind | Germany | 2018 | 385 | 50% | 0 | 192.5 | 3a | FiT3 | 2039 | - | - | -
Kaskasi | Offshore wind | Germany | 2022 | 342 | 100% | 342 | 342 | 1 | CfD | 2042 | - | - | 307539.071
Rødsand 2 | Offshore wind | Denmark | 2010 | 207 | 20% | 0 | 41.4 | 3a | n/a | 2022 | - | - | -
Thornton Bank 1 | Offshore wind | Belgium | 2009 | 30 | 26.73% | 0 | 8.019 | 3a | Other | 2029 | - | - | -
Thornton Bank 2 | Offshore wind | Belgium | 2012 | 147.6 | 26.73% | 0 | 39.4535 | 3a | Other | 2032 | - | - | -
Thornton Bank 3 | Offshore wind | Belgium | 2013 | 147.6 | 26.73% | 0 | 39.4535 | 3a | Other | 2033 | - | - | -
Total offshore wind |  |  |  | 6160.15 |  | 3517.05 | 3288.2487
1 EEG compression model: €154/MWh for first 12 years + 1.5 year on average (by turbine) depending on water depth and distance to shore, thereafter €39/MWh.
2 EEG compression model: €194/MWh for first 8 years, then €154/MWh for 1 to 2 years on average depending on water depth and distance to shore, thereafter €39/MWh.
3 EEG compression model: €184/MWh for first 8 years, then €149/MWh for further 2 years, thereafter €39/MWh.
Onshore wind
An Suidhe | Onshore wind | UK | 2010 | 19.3 | 51% | 19.3 | 9.843 | 2 | ROC | 2030 | 51421.1435 | 24451 | 36814
Bilbster | Onshore wind | UK | 2008 | 3.9 | 100% | 3.9 | 3.9 | 1 | ROC | 2027 | 9121.9283 | 7559 | 8210
Burgar Hill | Onshore wind | UK | 2006 | 5 | 100% | 5 | 5 | 1 | ROC | 2027 | 19709.22 | 18249 | 16965
Hameldon Hill | Onshore wind | UK | 2007 | 6 | 100% | 6 | 6 | 1 | ROC | 2027 | 11169.1459 | 7824 | 11723
Hellrigg | Onshore wind | UK | 2011 | 9.2 | 100% | 9.2 | 9.2 | 1 | ROC | 2031 | 31778.574 | 22408 | 19503
The Hollies | Onshore wind | UK | 2007 | 2.6 | 100% | 2.6 | 2.6 | 1 | ROC | 2027 | 5875.2147 | 4571 | 4998
Knabs Ridge | Onshore wind | UK | 2007 | 16 | 100% | 16 | 16 | 1 | ROC | 2027 | 30138.6139 | 23796 | 26599
Little Cheyne Court | Onshore wind | UK | 2008 | 59.8 | 59% | 59.8 | 35.282 | 2 | ROC | 2028 | 168933.234 | 124705 | 129621
Lindhurst | Onshore wind | UK | 2010 | 9 | 51% | 9 | 4.59 | 2 | ROC | 2030 | 24257.658 | 19616 | 21572
Lochelbank | Onshore wind | UK | 2011 | 9.6 | 100% | 9.6 | 9.6 | 1 | ROC | 2031 | 26840.4393 | 19364 | 25251
Novar 2 | Onshore wind | UK | 2012 | 36.8 | 100% | 36.8 | 36.8 | 1 | ROC | 2033 | 74624.657 | 58105 | 65228
Middlemoor | Onshore wind | UK | 2013 | 54 | 51% | 54 | 27.54 | 2 | ROC | 2033 | 150865.415 | 106572 | 134223
Kiln Pit Hill | Onshore wind | UK | 2012 | 13.8 | 100% | 13.8 | 13.8 | 1 | ROC | 2032 | 31218.9635 | 22778 | 25920
Bradwell | Onshore wind | UK | 2013 | 20.5 | 100% | 20.5 | 20.5 | 1 | ROC | 2033 | 56939.564 | 46433 | 44807
Hameldon Hill Extension | Onshore wind | UK | 2014 | 6 | 100% | 6 | 6 | 1 | ROC | 2034 | 16852.2613 | 12906 | 15170
Goole Fields A | Onshore wind | UK | 2013 | 32.8 | 100% | 32.8 | 32.8 | 1 | ROC | 2033 | 85165.5495 | 68391 | 75517
Goole Fields B | Onshore wind | UK | 2016 | 34.85 | 100% | 34.85 | 34.85 | 1 | ROC | 2036 | 102605.894 | 78452 | 88487
Brechfa Forest West | Onshore wind | UK | 2018 | 57.4 | 100% | 57.4 | 57.4 | 1 | ROC | 2038 | 182985.313 | 159305 | 177551
Mynydd Y Gwair | Onshore wind | UK | 2019 | 32.8 | 100% | 32.8 | 32.8 | 1 | CfD | 2034 | 111641.8129 | 94012 | 106023
Bad A Cheo | Onshore wind | UK | 2019 | 26.65 | 100% | 26.65 | 26.65 | 1 | CfD | 2034 | 79122.3995 | 57777 | 46831
Bowbeat (Emly Bank) | Onshore wind | UK | 2002 | 15.6 | 100% | 15.6 | 15.6 | 1 | ROC | 2027 | 34947 | 26732 | 31258
Bowbeat (Roughside) | Onshore wind | UK | 2002 | 15.6 | 100% | 15.6 | 15.6 | 1 | ROC | 2027 | 36137 | 26994 | 29684
Butterwick Moor (1) | Onshore wind | UK | 2011 | 9.4 | 100% | 9.4 | 9.4 | 1 | ROC | 2030 | 25057 | 15018 | 20675
Butterwick Moor (2) | Onshore wind | UK | 2011 | 9.4 | 100% | 9.4 | 9.4 | 1 | ROC | 2030 | 22889 | 14333 | 17533
Camster | Onshore wind | UK | 2013 | 50 | 100% | 50 | 50 | 1 | ROC | 2033 | 155980 | 141151 | 166255
Deucheran Hill | Onshore wind | UK | 2002 | 15.75 | 100% | 15.75 | 15.75 | 1 | ROC | 2026 | 27202 | 22871 | 23611
Great Eppleton (1) | Onshore wind | UK | 2011 | 4.1 | 100% | 4.1 | 4.1 | 1 | ROC | 2030 | 13349 | 7601 | 10168
Great Eppleton (2) | Onshore wind | UK | 2011 | 4.1 | 100% | 4.1 | 4.1 | 1 | ROC | 2030 | 14005 | 9876 | 10398
Harehill (NFFO) | Onshore wind | UK | 2004 | 2.75 | 100% | 2.75 | 2.75 | 1 | ROC | 2027 | 4605 | 4315 | 3748
Harehill (RO) | Onshore wind | UK | 2004 | 2.75 | 100% | 2.75 | 2.75 | 1 | ROC | 2027 | 6040 | 2498 | 4190
Haswell Moor (1) | Onshore wind | UK | 2010 | 6.15 | 100% | 6.15 | 6.15 | 1 | ROC | 2030 | 16331 | 9406 | 14312
Haswell Moor (2) | Onshore wind | UK | 2010 | 4.1 | 100% | 4.1 | 4.1 | 1 | ROC | 2030 | 10275 | 9891 | 11353
High Volts (NFFO) | Onshore wind | UK | 2004 | 2.75 | 100% | 2.75 | 2.75 | 1 | ROC | 2027 | 6563 | 3604 | 2865
High Volts (RO) | Onshore wind | UK | 2004 | 5.5 | 100% | 5.5 | 5.5 | 1 | ROC | 2027 | 12562 | 7238 | 5735
Holmside (NFFO) | Onshore wind | UK | 2004 | 2.75 | 100% | 2.75 | 2.75 | 1 | ROC | 2027 | 5108 | 840 | 2179
Holmside (RO) | Onshore wind | UK | 2004 | 2.75 | 100% | 2.75 | 2.75 | 1 | ROC | 2027 | 2409 | 1284 | 4348
Out Newton | Onshore wind | UK | 2002 | 9.1 | 100% | 9.1 | 9.1 | 1 | ROC | 2027 | 23847 | 15303 | 11039
Rosehall | Onshore wind | UK | 2013 | 24.7 | 100% | 24.7 | 24.7 | 1 | ROC | 2032 | 52559 | 47869 | 54463
Stags Holt | Onshore wind | UK | 2007 | 20 | 100% | 20 | 20 | 1 | ROC | 2027 | 46037 | 35158 | 37722
Tween Bridge | Onshore wind | UK | 2012 | 44 | 100% | 44 | 44 | 1 | ROC | 2032 | 112770 | 84049 | 97776
Clocaenog Forest | Onshore wind | UK | 2021 | 96 | 100% | 96 | 96 | 1 | CfD | 2026 | 248768.6782 | 204463 | 230181
Knäred | Onshore wind | Sweden | 2012 | 20 | 100% | 20 | 20 | 1 | Green Certificate | 2027 | 54228 | 46382 | 49540
Lilla Edet | Onshore wind | Sweden | 2011 | 6 | 100% | 6 | 6 | 1 | Green Certificate | 2026 | 20460 | 14792 | 16875
Lundåkra 1 & 2 | Onshore wind | Sweden | 2003 | 4 | 100% | 4 | 4 | 1 | expired | 2014 | 9748 | 7943 | 9721
Lundåkra 3 & 4 | Onshore wind | Sweden | 2008 | 5 | 100% | 5 | 5 | 1 | Green Certificate | 2023 | 13952 | 9129 | 11413
Nybro | Onshore wind | Sweden | 2011 | 20 | 90% | 20 | 18 | 2 | Green Certificate | 2026 | 64540 | 58447 | 57524
Öringe | Onshore wind | Sweden | 2011 | 6 | 80% | 6 | 4.8 | 2 | Green Certificate | 2026 | 17720 | 15110 | 15061
Örja | Onshore wind | Sweden | 2012 | 6 | 100% | 6 | 6 | 1 | Green Certificate | 2027 | 19986 | 16656 | 18161
Örken | Onshore wind | Sweden | 2012 | 18 | 100% | 18 | 18 | 1 | Green Certificate | 2027 | 47618 | 41370 | 45298
Skabersjö | Onshore wind | Sweden | 2012 | 10 | 51% | 10 | 5.1 | 2 | Green Certificate | 2026 | 30695 | 25491 | 27322
Villköl | Onshore wind | Sweden | 2013 | 21 | 100% | 21 | 21 | 1 | Green Certificate | 2027 | 64241 | 56991 | 54870
Nysäter | Onshore wind | Sweden | 2022 | 473.1 | 20% | 0 | 94.62 | 3a | PPA |  | - | - | -
Suwalki | Onshore wind | Poland | 2009 | 41.4 | 100% | 41.4 | 41.4 | 1 | Certificate | 2024 | 97175.0025 | 86797 | 80626
Tychowo | Onshore wind | Poland | 2011 | 34.5 | 100% | 34.5 | 34.5 | 1 | Certificate | 2026 | 73288.6924 | 64920 | 70052
Piecki | Onshore wind | Poland | 2010 | 32 | 51% | 32 | 16.32 | 2 | Certificate | 2026 | 67961.8737 | 59992 | 56319
Taciewo | Onshore wind | Poland | 2012 | 30 | 100% | 30 | 30 | 1 | Certificate | 2027 | 64716.182 | 57614 | 53614
Nowy Staw I | Onshore wind | Poland | 2013 | 45.1 | 100% | 45.1 | 45.1 | 1 | Certificate | 2028 | 234873.2924 | 214979 | 228965
Nowy Staw II | Onshore wind | Poland | 2015 | 28 | 100% | 28 | 28 | 1 | Certificate | 2030 | see Nowy Staw A | see Nowy Staw A | see Nowy Staw A
Opalenica | Onshore wind | Poland | 2015 | 16.8 | 100% | 16.8 | 16.8 | 1 | Certificate | 2030 | 44965.5931 | 39242 | 42231
Krzęcin | Onshore wind | Poland | 2012 | 14 | 100% | 14 | 14 | 1 | Certificate | 2027 | 39393.4481 | 34104 | 36007
Barzowice | Onshore wind | Poland | 2011 | 20.7 | 100% | 20.7 | 20.7 | 1 | Green Certificate | 2026 | 62781 | 51306 | 52182
Wielkopolska | Onshore wind | Poland | 2010 | 52.5 | 100% | 52.5 | 52.5 | 1 | Green Certificate | 2025 | 125828 | 112501 | 117378
Wielkopolska 2a | Onshore wind | Poland | 2014 | 15 | 100% | 15 | 15 | 1 | Green Certificate | 2029 | 34881 | 30622 | 31394
Wysoka I | Onshore wind | Poland | 2013 | 7.5 | 100% | 7.5 | 7.5 | 1 | Green Certificate | 2028 | 14128 | 12377 | 13340
Wysoka II | Onshore wind | Poland | 2014 | 47.5 | 100% | 47.5 | 47.5 | 1 | Green Certificate | 2029 | 92173 | 79477 | 86988
Nawrocko | Onshore wind | Poland | 2021 | 7.2 | 100% | 7.2 | 7.2 | 1 | CfD | 2035 | 25824 | 21810 | 24128
Zukowice | Onshore wind | Poland | 2021 | 33 | 100% | 33 | 33 | 1 | CfD | 2036 | 18009 | 100450 | 106627
Rozdrazew | Onshore wind | Poland | 2022 | 16.8 | 100% | 16.8 | 16.8 | 1 | CfD | 2038 | - | - | 30322
Dolice | Onshore wind | Poland | 2022 | 47.5 | 100% | 47.5 | 47.5 | 1 | CfD | 2037 | - | 72540 | 124389
Wierzchlas | Onshore wind | Poland | 2022 | 7 | 100% | 7 | 7 | 1 | CfD | 2037 | - | - | -
Halsteren | Onshore wind | Netherlands | 2004 | 6.8 | 100% | 6.8 | 6.8 | 1 | Merchant | n/a | 15756.2667 | 12415 | 12068
Karolinapolder | Onshore wind | Netherlands | 1998 | 2.4 | 100% | 2.4 | 2.4 | 1 | Merchant | n/a | 5054.9845 | 3911 | 4029
Sabinapolder I | Onshore wind | Netherlands | 2009 | 6 | 100% | 6 | 6 | 1 | Merchant | n/a | 14427.2992 | 11254 | 11237
Sabinapolder II / Dintelmond | Onshore wind | Netherlands | 2013 | 0.85 | 100% | 0.85 | 0.85 | 1 | FiT | 2026 | see above | see above | see above
Volkerak | Onshore wind | Netherlands | 2005 | 9.35 | 100% | 9.35 | 9.35 | 1 | Merchant | n/a | 15735.6972 | 12561 | 12629
Westereems I / Westereems | Onshore wind | Netherlands | 2009 | 123 | 100% | 123 | 123 | 1 | Merchant | n/a | 384265.6157 | 286345 | 311929
Westereems II / Eemshaven | Onshore wind | Netherlands | 2012 | 12.3 | 100% | 12.3 | 12.3 | 1 | FiT | 2027 | see above | see above | see above
Kattenberg | Onshore wind | Netherlands | 2016 | 9.6 | 100% | 9.6 | 9.6 | 1 | FiT | 2031 | 29627.004 | 23702 | 23776
Zuidwester | Onshore wind | Netherlands | 2016 | 90 | 100% | 90 | 90 | 1 | FiT | 2031 | 273552.932 | 215513 | 212566
Eekerpolder | Onshore wind | Netherlands | 2021 | 63 | 100% | 63 | 63 | 1 | FiT | 2035 | 44301.0312 | 156848 | 155454
Oostpolder | Onshore wind | Netherlands | 2022 | 36 | 100% | 36 | 36 | 1 | CfD | 2036/2037 | - | 4291 | 97300
Oostpolderdijk | Onshore wind | Netherlands | 2022 | 7.5 | 100% | 7.5 | 7.5 | 1 | CfD | 2036 | - | - | 17330
Westereems III (GSP) | Onshore wind | Netherlands | 2022 | 9 | 100% | 9 | 9 | 1 | CfD | 2037 | see Westereems | see Westereems | see Westereems
San Basilio | Onshore wind | Italy | 2010 | 24.65 | 51% | 24.65 | 12.5715 | 2 | FiT | 2025 | 39383.8724 | 41312 | 37456
Ururi | Onshore wind | Italy | 2011 | 26 | 51% | 26 | 13.26 | 2 | FiT | 2025 | 47652.4178 | 50326 | 44661
Anzi | Onshore wind | Italy | 2011 | 16 | 51% | 16 | 8.16 | 2 | FiT | 2026 | 28967.1236 | 33520 | 30310
Deliceto | Onshore wind | Italy | 2012 | 23 | 100% | 23 | 23 | 1 | FiT | 2027 | 37747.0762 | 43871 | 37875
Alcamo | Onshore wind | Italy | 2011 | 32 | 100% | 32 | 32 | 1 | FiT | 2026 | 47831 | 56588 | 65064
Florinas | Onshore wind | Italy | 2004 | 20 | 100% | 20 | 20 | 1 | Merchant | 2016 | 21730 | 21846 | 22105
Iardino | Onshore wind | Italy | 2005 | 14 | 100% | 14 | 14 | 1 | Merchant | 2017 | 17876 | 20769 | 19306
Marco A. Severino | Onshore wind | Italy | 2007 | 32 | 100% | 32 | 32 | 1 | Merchant | 2019 | 50189 | 55063 | 46650
Marco A. Severino II | Onshore wind | Italy | 2007 | 12 | 100% | 12 | 12 | 1 | Merchant | 2019 | 18821 | 23150 | 18858
Montecute | Onshore wind | Italy | 2006 | 42 | 100% | 42 | 42 | 1 | Merchant | 2019 | 66637 | 78300 | 73363
Montecute II | Onshore wind | Italy | 2006 | 2 | 100% | 2 | 2 | 1 | Merchant | 2019 | 3173 | 3134 | 3234
Morcone | Onshore wind | Italy | 2019 | 57 | 100% | 57 | 57 | 1 | CfD | 2039 | 173552 | 186948 | 192708
Piano di Corda I | Onshore wind | Italy | 2007 | 38 | 100% | 38 | 38 | 1 | Merchant | 2021 | 72571 | 74338 | 74192
Piano di Corda II | Onshore wind | Italy | 2010 | 6 | 100% | 6 | 6 | 1 | Merchant | 2021 | 11459 | 15076 | 13255
Poggi Alti | Onshore wind | Italy | 2006 | 20 | 100% | 20 | 20 | 1 | Merchant | 2019 | 25141 | 33586 | 30614
Santa Ninfa (Trapani) (G52 part) | Onshore wind | Italy | 2007 | 8.5 | 100% | 8.5 | 8.5 | 1 | Merchant | 2019 | 15306 | 19510 | 16037
Santa Ninfa (Trapani) (G58 part) | Onshore wind | Italy | 2007 | 23.8 | 100% | 23.8 | 23.8 | 1 | Merchant | 2019 | 42855 | 52829 | 44409
Serra Pelata I | Onshore wind | Italy | 2007 | 42 | 100% | 42 | 42 | 1 | Merchant | 2019 | 99650 | 102880 | 98904
Serra Pelata II | Onshore wind | Italy | 2010 | 12 | 100% | 12 | 12 | 1 | Merchant | 2019 | 28471 | 30116 | 28617
Vizzini | Onshore wind | Italy | 2006 | 23.8 | 100% | 23.8 | 23.8 | 1 | Merchant | 2018 | 32916 | 41516 | 37715
Alcamo II | Onshore wind | Italy | 2021 | 13.6 | 100% | 13.6 | 13.6 | 1 | PPA | 2029 | - | 29864 | 30525
Selinus | Onshore wind | Italy | 2022 | 25.2 | 100% | 25.2 | 25.2 | 1 | CfD | 2042 | - | - | 7576
Dromadda Beg | Onshore wind | Ireland | 2018 | 9.99 | 100% | 9.99 | 9.99 | 1 | FiT | 2032 | 30292.832 | 23651 | 26594
Friedrichsgabekoog | Onshore wind | Germany | 1995 | 2 | 100% | 2 | 2 | 1 | FiT | 2020 | 10521.177 | 4462 | 2509
Krusemark C | Onshore wind | Germany | 2007 | 7.4 | 100% | 7.4 | 7.4 | 1 | FiT | 2024 | 11830.6353 | 7561 | 9135
Regesbostel | Onshore wind | Germany | 2001 | 2.4 | 100% | 2.4 | 2.4 | 1 | FiT | 2021 | 2080.7636 | 2032 | 2198
Gethsemane | Onshore wind | Germany | 2001 | 7.2 | 100% | 7.2 | 7.2 | 1 | FiT | 2021 | 9053.2617 | 6580 | 7504
Barbecke | Onshore wind | Germany | 2002 | 14.4 | 100% | 14.4 | 14.4 | 1 | FiT | 2022 | 21130.8963 | 16748 | 18085
Riepsdorf | Onshore wind | Germany | 2002 | 5.4 | 100% | 5.4 | 5.4 | 1 | FiT | 2022 | 8804.1153 | 7627 | 7045
Schneverdingen | Onshore wind | Germany | 2002 | 9.2 | 100% | 9.2 | 9.2 | 1 | FiT | 2024 | 9952.945 | 7674 | 9716
Bartelsdorf | Onshore wind | Germany | 2009 | 32 | 100% | 32 | 32 | 1 | FiT | 2029 | 62850.5042 | 47888 | 57293
Bedburg Königshovener Höhe A | Onshore wind | Germany | 2014 | 38.04 | 51% | 38.04 | 19.4004 | 2 | FiT | 2034 | 183823.1875 | 151336 | 178588
Bedburg Königshovener Höhe A | Onshore wind | Germany | 2015 | 28.53 | 51% | 28.53 | 14.5503 | 2 | FiT | 2034 | see above | see above | see above
Lesse C | Onshore wind | Germany | 2007 | 2 | 100% | 2 | 2 | 1 | FiT | 2027 | 3299.1609 | 2554 | 2677
Eystrup A | Onshore wind | Germany | 2003 | 5.4 | 100% | 5.4 | 5.4 | 1 | FiT | 2023 | 5154.6078 | 4067 | 5264
Eystrup B | Onshore wind | Germany | 2002 | 3.6 | 100% | 3.6 | 3.6 | 1 | FiT | 2022 | 3260.6179 | 2738 | 3294
Seedorf | Onshore wind | Germany | 2002 | 9 | 100% | 9 | 9 | 1 | FiT | 2022 | 9159.3336 | 7448 | 8670
Dransfeld | Onshore wind | Germany | 2002 | 1.2 | 100% | 1.2 | 1.2 | 1 | FiT | 2022 | 1940.6818 | 1424 | 1527
Helmstedt | Onshore wind | Germany | 2002 | 3.6 | 100% | 3.6 | 3.6 | 1 | FiT | 2022 | 5063.4843 | 4670 | 4855
Wönkhausen | Onshore wind | Germany | 2002 | 8 | 100% | 8 | 8 | 1 | FiT | 2022 | 10903.2642 | 9125 | 10698
Welver | Onshore wind | Germany | 2003 | 7.2 | 100% | 7.2 | 7.2 | 1 | FiT | 2024 | 10166.833 | 7948 | 8357
Oedelum | Onshore wind | Germany | 2003 | 3.6 | 100% | 3.6 | 3.6 | 1 | FiT | 2022 | 5635.6442 | 4657 | 5324
Rethen | Onshore wind | Germany | 2003 | 5.4 | 100% | 5.4 | 5.4 | 1 | FiT | 2023 | 6968.3198 | 5617 | 6488
Ottersberg | Onshore wind | Germany | 2003 | 1.2 | 100% | 1.2 | 1.2 | 1 | FiT | 2023 | 1667.43 | 1221 | 1575
Messingen | Onshore wind | Germany | 2003 | 5.4 | 100% | 5.4 | 5.4 | 1 | FiT | 2024 | 8658.1231 | 6632 | 7268
Lengerich | Onshore wind | Germany | 2003 | 1.8 | 100% | 1.8 | 1.8 | 1 | FiT | 2023 | 3229.5499 | 2355 | 2612
Sassenberg | Onshore wind | Germany | 2003 | 1.8 | 100% | 1.8 | 1.8 | 1 | FiT | 2023 | 2006.2026 | 1552 | 1748
Eicklingen | Onshore wind | Germany | 2003 | 3.6 | 100% | 3.6 | 3.6 | 1 | FiT | 2023 | 4831.046 | 3782 | 4567
Halle | Onshore wind | Germany | 2004 | 9 | 100% | 9 | 9 | 1 | FiT | 2023 | 10869.4409 | 8798 | 10733
Krokhorst | Onshore wind | Germany | 2003 | 7.2 | 100% | 7.2 | 7.2 | 1 | FiT | 2023 | 6594.5048 | 5004 | 5838
Zicherie | Onshore wind | Germany | 2003 | 6 | 100% | 6 | 6 | 1 | FiT | 2023 | 6272.5872 | 5529 | 6251
Dargelütz | Onshore wind | Germany | 2006 | 22 | 100% | 22 | 22 | 1 | FIT | 2026 | 32322 | 27613 | 28908
Düshorner Heide | Onshore wind | Germany | 2014 | 26 | 51% | 26 | 13.26 | 2 | FiT | 2034 | 43242.9448 | 35847 | 43219
Calle | Onshore wind | Germany | 2004 | 9 | 100% | 9 | 9 | 1 | FiT | 2024 | 10199.7803 | 8649 | 10310
Grauen | Onshore wind | Germany | 2006 | 4 | 100% | 4 | 4 | 1 | FiT | 2026 | 4838.6436 | 3939 | 4352
Rüthnick | Onshore wind | Germany | 2007 | 8 | 100% | 8 | 8 | 1 | FiT | 2027 | 16596.6489 | 12691 | 14743
Reeßum | Onshore wind | Germany | 2007 | 4 | 100% | 4 | 4 | 1 | FiT | 2027 | 4597.176 | 3549 | 4334
Elisabethfehn | Onshore wind | Germany | 2007 | 8 | 100% | 8 | 8 | 1 | FiT | 2027 | 10312.841 | 8051 | 9250
Breetze | Onshore wind | Germany | 2007 | 6 | 100% | 6 | 6 | 1 | FiT | 2027 | 7817.267 | 6956 | 7446
Eschweiler-Fronhoven A | Onshore wind | Germany | 2017 | 28.53 | 51% | 28.53 | 14.5503 | 2 | FiT | 2037 | 68240.5166 | 59254 | 61846
Grebbin | Onshore wind | Germany | 2008 | 8 | 100% | 8 | 8 | 1 | FiT | 2028 | 13981.5019 | 12271 | 12286
Lasbek | Onshore wind | Germany | 2004 | 10.8 | 100% | 10.8 | 10.8 | 1 | FiT | 2024 | 13447.5047 | 11124 | 12590
Lesse A | Onshore wind | Germany | 2002 | 19.8 | 100% | 19.8 | 19.8 | 1 | FiT | 2023 | 33936.3155 | 26037 | 29302
Süderdeich B | Onshore wind | Germany | 2011 | 9.2 | 51% | 9.2 | 4.692 | 2 | FiT | 2029 | 7617.5269 | 12714 | 14945
Lesse B | Onshore wind | Germany | 2002 | 21 | 100% | 21 | 21 | 1 | FiT | 2030 | 40504.0024 | 32309 | 34383
Malterhausen | Onshore wind | Germany | 2002 | 28.8 | 100% | 28.8 | 28.8 | 1 | FiT | 2022 | 25477.5673 | 18251 | 19688
Hörup B | Onshore wind | Germany | 2012 | 7.97 | 51% | 7.97 | 4.0647 | 2 | FiT | 2032 | 4407.7036 | 6513 | 10178
Putlitz | Onshore wind | Germany | 2004 | 62 | 100% | 62 | 62 | 1 | FiT | 2024 | 119829.2029 | 101662 | 96882
Schmarloh | Onshore wind | Germany | 2008 | 28 | 100% | 28 | 28 | 1 | FiT | 2030 | 51345.0916 | 42458 | 49753
Sommerland B | Onshore wind | Germany | 2016 | 6.03 | 100% | 6.03 | 6.03 | 1 | FiT | 2036 | 38350.7926 | 33672 | 35032
Sommerland B | Onshore wind | Germany | 2018 | 6.03 | 100% | 6.03 | 6.03 | 1 | FiT | 2036 | see above | see above | see above
Eschweiler-Nord A | Onshore wind | Germany | 2017 | 12.68 | 51% | 12.68 | 6.4668 | 2 | FiT | 2037 | 32520.3194 | 28684 | 29194
Titz-Nord | Onshore wind | Germany | 2012 | 20.5 | 51% | 20.5 | 10.455 | 2 | FiT | 2032 | 52774.6075 | 41547 | 46196
Twistringen | Onshore wind | Germany | 2008 | 12 | 100% | 12 | 12 | 1 | FiT | 2029 | 14865.6766 | 10909 | 12764
Wiedenfelder Höhe A+B | Onshore wind | Germany | 2017 | 13.2 | 100% | 13.2 | 13.2 | 1 | FiT | 2037 | 30516.688 | 25342 | 27443
Treue | Onshore wind | Germany | 2005 | 8 | 100% | 8 | 8 | 1 | FIT | 2025 | 14871 | 12824 | 14456
Treue Ost | Onshore wind | Germany | 2007 | 8 | 100% | 8 | 8 | 1 | FIT | 2027 | 13095 | 11953 | 12701
Krusemark-Ellingen | Onshore wind | Germany | 2022 | 19.8 | 100% | 19.8 | 19.8 | 1 | FiT | 2042 | - | - | 33974
Bedburg A44n | Onshore wind | Germany | 2022 | 28.5 | 51% | 28.5 | 14.535 | 2 | FiT | 2042 | - | - | 2740
Evendorf 3 | Onshore wind | Germany | 2022 | 11.7 | 100% | 11.7 | 11.7 | 1 | FiT | 2042 | - | - | 10
Les Pierrots | Onshore wind | France | 2021 | 26.4 | 100% | 26.4 | 26.4 | 1 | CfD | 2041 | - | 18072 | 53376
Martinpuich | Onshore wind | France | 2022 | 14.7 | 100% | 14.7 | 14.7 | 1 | CfD | 2042 | - | - | 20927
Les Hauts Bouleaux | Onshore wind | France | 2022 | 18 | 100% | 18 | 18 | 1 | CfD | 2042 | - | - | 22494
Epine Marie Madeleine Extension (EMME) | Onshore wind | France | 2022 | 22.8 | 100% | 22.8 | 22.8 | 1 | CfD | 2042 | - | - | 10422
Coupru (COUP) | Onshore wind | France | 2022 | 12 | 50% | 0 | 6 | 1 | CfD | 2042 | - | - | -
Acampo Armijo | Onshore wind | Spain | 2002 | 18 | 100% | 18 | 18 | 1 | Merchant | n/a | 41763.9817 | 46456 | 39910
Muel | Onshore wind | Spain | 1998 | 16.2 | 99.99% | 16.2 | 16.1984 | 1 | Merchant | n/a | 31117.515 | 33366 | 26693
Grisel I | Onshore wind | Spain | 2001 | 13.5 | 100% | 13.5 | 13.5 | 1 | Merchant (82%) | n/a | 24778.5553 | 26927 | 23473
Grisel II | Onshore wind | Spain | 2005 | 3 | 100% | 3 | 3 | 1 | Other | 2025 | see Grisel I | see Grisel I | see Grisel I
Los Labrados | Onshore wind | Spain | 2002 | 24 | 100% | 24 | 24 | 1 | Merchant | n/a | 41263.4524 | 45529 | 38536
Plana de la Balsa | Onshore wind | Spain | 2002 | 24 | 100% | 24 | 24 | 1 | Merchant | n/a | 36403.7791 | 38797 | 33478
Plana de Zaragoza | Onshore wind | Spain | 2002 | 24 | 100% | 24 | 24 | 1 | Merchant | n/a | 46009.559 | 50806 | 42821
Bosque Alto | Onshore wind | Spain | 2002 | 21.75 | 100% | 21.75 | 21.75 | 1 | Merchant | n/a | 44237.9958 | 46846 | 40163
Plana de Maria | Onshore wind | Spain | 2002 | 24 | 100% | 24 | 24 | 1 | Merchant | n/a | 38713.9102 | 41438 | 34882
Rio Gallego I | Onshore wind | Spain | 2003 | 36 | 1 | 36 | 36 | 1 | Merchant (93%) | n/a | 65293.3915 | 77090 | 68173
Rio Gallego II | Onshore wind | Spain | 2006 | 2.7 | 100% | 2.7 | 2.7 | 1 | Other | 2026 | see Rio Gallego I | see Rio Gallego I | see Rio Gallego I
Lanternoso | Onshore wind | Spain | 2004 | 24 | 100% | 24 | 24 | 1 | Other | 2024 | 59453.328 | 67499 | 65549
Bancal | Onshore wind | Spain | 2007 | 21 | 100% | 21 | 21 | 1 | Other | 2027 | 29563.662 | 30978 | 29742
Siglos | Onshore wind | Spain | 2007 | 18 | 100% | 18 | 18 | 1 | Other | 2027 | 27685.7159 | 29541 | 28567
Luna | Onshore wind | Spain | 2004 | 49.5 | 98.66% | 49.5 | 48.8367 | 2 | Other | 2024 | 118500.163 | 113172 | 110277
Juno | Onshore wind | Spain | 2004 | 49.5 | 98.66% | 49.5 | 48.8367 | 2 | Other | 2024 | 111565.2838 | 106955 | 102169
Urano | Onshore wind | Spain | 2004 | 30.4 | 98.66% | 30.4 | 29.9926 | 2 | Other | 2024 | 53210.9979 | 57024 | 57863
Aldehuelas | Onshore wind | Spain | 2005 | 47.2 | 95% | 47.2 | 44.84 | 2 | Other | 2024 | 120511.5951 | 121588 | 125390
REA | Onshore wind | Spain | 2022 | 41 | 98.99% | 41 | 40.3 | 1 | Merchant | 2052 | - | - | 12661
Anacacho | Onshore wind | US | 2012 | 99.825 | 100% | 99.825 | 99.83 | 1 | REC/PTC | 2022 | 319292.9947 | 314712.9297 | 333894.22
Boiling Springs | Onshore wind | US | 2020 | 148.4 | 100% | 148.4 | 148.4 | 1 | REC/PTC | 2030 | 38897.652 | 478188.24 | 650568.53
Bruenning's Breeze | Onshore wind | US | 2017 | 228 | 100% | 228 | 228 | 1 | REC/PTC | 2027 | 535232.7628 | 560302.4218 | 587415.61
Cassadaga | Onshore wind | US | 2021 | 124.875 | 100% | 124.875 | 124.875 | 1 | REC/PTC | 2031 | - | 131340.2612 | 267711.39
Champion | Onshore wind | US | 2008 | 126.5 | 100% | 126.5 | 126.5 | 1 | REC | n/a | 339012.7029 | 308885.6891 | 299733.72
Colbeck's Corner | Onshore wind | US | 2016 | 200.48 | 100% | 200.48 | 200.48 | 1 | REC/PTC | 2026 | 880852.1277 | 822202.9472 | 867014.03
Cranell | Onshore wind | US | 2020 | 220 | 25% | 0 | 55 | 3a | REC/PTC | 2030 | 231887.8448 | 569768.1813 | 637156.8261
East Raymond | Onshore wind | US | 2020 | 200.2 | 25% | 0 | 50.05 | 3a | REC/PTC | 2030 | 50936.38 | 652003.6424 | 699328.978
Forest Creek | Onshore wind | US | 2007 | 124.2 | 100% | 124.2 | 124.2 | 1 | REC | n/a | 313895.912 | 270060.4426 | 239886.87
Grand View I | Onshore wind | US | 2014 | 211.22 | 50% | 0 | 105.6 | 3a | REC/PTC | 2024 | 887210.6271 | 844119.2681 | 909329.9705
Inadale | Onshore wind | US | 2009 | 197 | 100% | 197 | 197 | 1 | REC | n/a | 506723.5937 | 461282.4007 | 442333.82
Magic Valley I | Onshore wind | US | 2012 | 203.28 | 20% | 0 | 40.656 | 3a | REC/PTC | 2022 | 539381.9436 | 508100.8312 | 542222.7947
Munnsville | Onshore wind | US | 2007 | 34.5 | 100% | 34.5 | 34.5 | 1 | REC/ITC | 2034 | 89355.6039 | 79075.1134 | 91318.17
Panther Creek - Phase I | Onshore wind | US | 2008 | 142.5 | 100% | 142.5 | 142.5 | 1 | REC | n/a | 548642.2675 | 524666.3492 | 533291.35
Panther Creek - Phase II | Onshore wind | US | 2008 | 115.5 | 100% | 115.5 | 115.5 | 1 | REC | n/a | 444688.9957 | 405829.8547 | 421144.33
Panther Creek - Phase III | Onshore wind | US | 2009 | 215.5 | 100% | 215.5 | 215.5 | 1 | REC | n/a | 559852.5782 | 506569.8459 | 729864.73
Papalote Creek I | Onshore wind | US | 2009 | 179.85 | 50% | 0 | 89.925 | 3a | REC | n/a | 501408.2221 | 444922.3523 | 499689.959
Papalote Creek II | Onshore wind | US | 2010 | 200.1 | 50% | 0 | 100.05 | 3a | REC | n/a | 519225.8442 | 421437.3883 | 549765.3082
Peyton Creek | Onshore wind | US | 2020 | 151.2 | 100% | 151.2 | 151.2 | 1 | REC/PTC | 2030 | 336117.7844 | 365322.0351 | 408117.2
Pioneer Trail | Onshore wind | US | 2012 | 150.4 | 100% | 150.4 | 150.4 | 1 | REC/PTC | 2021 | 447329.7814 | 447958.9728 | 504902.83
Pyron | Onshore wind | US | 2009 | 249 | 100% | 249 | 249 | 1 | REC | n/a | 703171.5832 | 652130.478 | 623680.03
Radford's Run | Onshore wind | US | 2017 | 305.8 | 100% | 305.8 | 305.8 | 1 | REC/PTC | 2027 | 1018228.6807 | 1063503.8268 | 1182122
West Raymond | Onshore wind | US | 2021 | 239.8 | 25% | 0 | 59.95 | 3a | REC/PTC | 2031 | - | 394805.2964 | 801144.8043
Roscoe | Onshore wind | US | 2008 | 209 | 100% | 209 | 209 | 1 | REC | n/a | 510435.6073 | 475327.7473 | 450634.99
Scioto Ridge | Onshore wind | US | 2021 | 249.8 | 100% | 249.8 | 249.8 | 1 | REC/PTC | 2031 | - | 391244.7547 | 554326.84
Settlers Trail | Onshore wind | US | 2011 | 150.4 | 100% | 150.4 | 150.4 | 1 | REC/PTC | 2021 | 383725.6027 | 371245.5937 | 359448.5
Stella | Onshore wind | US | 2018 | 201 | 25% | 0 | 50.25 | 3a | REC/PTC | 2028 | 617865.8894 | 537237.7951 | 638310.6733
Stony Creek | Onshore wind | US | 2009 | 52.5 | 50% | 0 | 26.25 | 3a | REC | n/a | 148864.8277 | 134118.1862 | 136813.2149
Wildcat I | Onshore wind | US | 2012 | 202.5 | 20% | 0 | 40.5 | 3a | REC/PTC | 2022 | 597867.0243 | 637113.7 | 717026.4869
El Algodon Alto (EAA) | Onshore wind | US | 2022 | 200 | 100% | 200 | 200 | 1 | REC/PTC | 2032 | - | - | 617796.39
Blackjack Creek | Onshore wind | US | 2022 | 240 | 100% | 240 | 240 | 1 | REC/PTC | 2032 | - | - | 145312.11
Baron Winds | Onshore wind | US | 2022 | 121.8 | 100% | 121.8 | 121.8 | 1 | REC/PTC | 2032 | - | - | 1243.86
Sand Bluff Repower | Onshore wind | US | 2022 | 89.5 | 100% | 89.5 | 89.5 | 1 | PPA | 2035 | 143582.1213 | 60855.0427 | 18622.86
EPZ-Wind | Onshore wind | Netherlands | 2004 | 24 | 30% | 7.2 | 7.2 | 3b | n/a | n/a | - | - | -
Total onshore wind |  |  |  | 9867.58 |  | 7455.23 | 7950.0314
Solar
Stawiec | Solar | Poland | 2019 | 0.55 | 100% | 0.55 | 0.55 | 1 | CfD | 2034 | 666.651 | 355 | 762.586
PV Pipeline Poland (42 MW) 1st group - Standard | Solar | Poland | 2022 | 12.75 | 100% | 12.75 | 12.75 | 1 | CfD | 2037 | - | - | 1674.991
PV Pipeline Poland (42 MW) 2nd group - PEG | Solar | Poland | 2022 | 3.75 | 100% | 3.75 | 3.75 | 1 | CfD | 2037 | - | - | 7.042
Kerkrade | Solar | Netherlands | 2021 | 10 | 100% | 10 | 10 | 1 | CfD | 2036 | - | 9913.5717 | 14517.2578
AmerCentrale Ground Mounted | Solar | Netherlands | 2021 | 1.5 | 100% | 1.5 | 1.5 | 1 | CfD | 2036 | - | 264.4933 | 1935.0796
Amer Floating | Solar | Netherlands | 2022 | 4.4 | 100% | 4.4 | 4.4 | 1 | CfD | 2037 | - | - | 1902.4426
Auf Schalke | Solar | Germany | 2001 | 0.087 | 87.49% | 0.087 | 0.076116 | 2 | FiT | 2021 | - | - | -
Bad Essen | Solar | Germany | 2019 | 0.75 | 100% | 0.75 | 0.75 | 1 | FiT | 2040 | 628.923 | 528.032 | 529.64
Lembruch | Solar | Germany | 2018 | 0.528 | 100% | 0.528 | 0.528 | 1 | FiT | 2039 | 635.595 | 531.351 | 590
Neurath | Solar | Germany | 1991 | 0.35 | 100% | 0.35 | 0.35 | 1 | FiT | 2020 | - | - | -
Stolberg | Solar | Germany | 2019 | 0.54 | 100% | 0.54 | 0.54 | 1 | FiT | 2040 | 696.342 | 589.664 | 620
Lieg | Solar | Germany | 2020 | 0.6 | 100% | 0.6 | 0.6 | 1 | FiT | 2040 | 182.857 | 688.209 | 720.522
Seesbach | Solar | Germany | 2022 | 3.2 | 100% | 3.2 | 3.2 | 1 | FiT | 2042 | - | - | 2250
Inden | Solar | Germany | 2022 | 12.8 | 100% | 12.8 | 12.8 | 1 | FiT | 2042 | - | - | 296
Bernkastel | Solar | Germany |  | 0.009 | 100% | 0.009 | 0.009 | 1 | n/a | n/a | - | - | -
Toledo | Solar | Spain | 1994 | 0.9 | 33% | 0 | 0.297 | 4 | Other | 2019 | n/a | n/a | n/a
Andasol 3 | Solar | Spain | 2012 | 49.9 | 12.8% | 0 | 6.3877 | 4 | Other | 2036 | n/a | n/a | n/a
Alarcos | Solar | Spain | 2020 | 45 | 100% | 45 | 45 | 1 | PPA | 2030 | 51573.133 | 95871.783 | 81310.578
Casa Valdés | Solar | Spain | 2022 | 44 | 100% | 44 | 44 | 1 | Merchant | 2057 | - | - | -
Limondale | Solar | Australia | 2021 | 249 | 100% | 249 | 249 | 1 | Merchant | n/a | 65677.086 | 245210.321 | 467965
Vauxhall | Solar | Canada | 2020 | 22 | 100% | 22 | 22 | 1 | PPA | 2030 | - | 40504.1776 | 38165
Hull | Solar | Canada | 2020 | 24.5 | 100% | 24.5 | 24.5 | 1 | PPA | 2030 | - | 41385.3578 | 30781
Conrad | Solar | Canada | 2022 | 41 | 100% | 41.4 | 41.4 | 1 | REC | n/a | - | - | 8954.12
Tamworth | Solar | US | 2019 | 5 | 100% | 5 | 5 | 1 | PPA | n/a | - | 7266.079 | 10250
Tanager | Solar | US | 2019 | 5 | 100% | 5 | 5 | 1 | PPA | n/a | - | 9328.8805 | 8260
Tech Park (PV) | Solar | US | 2012 | 5 | 100% | 5 | 5 | 1 | ITC | n/a | - | 13917.943 | 13970
Valencia (PV) | Solar | US | 2013 | 9.9 | 100% | 9.9 | 9.9 | 1 | ITC | n/a | - | 26962.746 | 26424
Iron Horse (PV) | Solar | US | 2017 | 2.3 | 100% | 0 | 2.3 | 4 | ITC | n/a | - | 4661.608 | 4652.96
West of the Pecos | Solar | US | 2019 | 100 | 100% | 100 | 100 | 1 | ITC | 2024 | - | 254679.1657 | 258652.16
Hickory Park (PV) | Solar | US | 2022 | 196 | 100% | 196 | 196 | 1 | PPA/ITC | 2026 | - | - | 420990.47
EPZ-Solar | Solar | Netherlands | 2021 | 17.2 | 30% | 5.16 | 5.16 | 3b | n/a | n/a
Total solar |  |  |  | 868.514 |  | 803.774 | 812.7478
Batteries
Iron Horse (ES) | Battery | US | 2017 | 9.9 | 100% | 0 | 9.9 | 4 | ITC | 2047 | - | - | -
Texas Waves - Inadale | Battery | US | 2018 | 9.9 | 100% | 9.9 | 9.9 | 1 | ITC | 2033 | - | - | -
Texas Waves - Pyron | Battery | US | 2018 | 9.9 | 100% | 9.9 | 9.9 | 1 | ITC | 2033 | - | - | -
Hickory Park | Battery | US | 2022 | 40 | 100% | 40 | 40 | 1 | PPA/ITC | 2026 | - | - | 1593.41
Stephenstown | Battery | Ireland | 2021 | 8.5 | 100% | 8.5 | 8.5 | 1 | Other | n/a | - | - | -
Lisdrumdoagh | Battery | Ireland | 2022 | 60 | 100% | 60 | 60 | 1 | Other | - | - | - | -
Battery storage Herdecke | Battery | Germany | 2018 | 6.25 | 100% | 6.25 | 6.25 | 1 | - | - | - | - | -
Krefeld Batterie | Battery | Germany | 2022 | 4.5 | 100% | 4.5 | 4.5 | 1 | - | - | - | - | -
Batteriespeicher Triton Gersteinwerk | Battery | Germany | 2022 | 72 | 100% | 72 | 72 | 1 | - | - | - | - | -
Batteriespeicher Triton Emsland | Battery | Germany | 2022 | 45 | 100% | 45 | 45 | 1 | - | - | - | - | -
Betteriespeicher Herdecke 2 | Battery | Germany | 2022 | 6.08 | 100% | 6.08 | 6.08 | 1 | - | - | - | - | -
Various (RWE Economic Stake < 10 MW) | Battery | UK | various | 0.1 | 100% | 0.1 | 0.1 | 1 | - | - | - | - | -
Various (RWE Economic Stake < 10 MW) | Battery | Germany | various | 2 | 100% | 2 | 2 | 1 | - | - | - | - | -
Total batteries |  |  |  | 274.13 |  | 264.23 | 274.13
Total generation capacity Wind and Solar |  |  |  | 17170.374 |  | 12040.284 | 12325.1579
Total generation capacity excl. Wind and Solar |  |  |  | 32634.07 |  | 27224.87 | 29153.001
Total generation capacity |  |  |  | 49804.444 |  | 39265.354 | 41478.1589

## RWE Asset List excl. wind,solar
Power plant | Technology | Country | Commissioned | Net capacity | RWE's legal | Accounting | Pro rata | Comment
[5 empty] | share | view | view
|  |  |  | MW | % | MW | MW
Hydro
RADAG Kanalkraftwerk | Hydro | Germany | 1933 | 83.8 | 77% | 83.8 | 64.526
Detzem | Hydro | Germany | 1962 | 24 | 100% | 24 | 24
Lehmen | Hydro | Germany | 1962 | 20 | 100% | 20 | 20
Wintrich | Hydro | Germany | 1965 | 20 | 100% | 20 | 20
Trier | Hydro | Germany | 1962 | 18.8 | 100% | 18.8 | 18.8
RADAG Wehrkraftwerk | Hydro | Germany | 2009 | 24 | 77% | 24 | 18.48
Enkirch | Hydro | Germany | 1966 | 18.4 | 100% | 18.4 | 18.4
Fankel (Ellenz-Poltersdorf) | Hydro | Germany | 1963 | 16.4 | 100% | 16.4 | 16.4
Müden | Hydro | Germany | 1965 | 16.4 | 100% | 16.4 | 16.4
Neef | Hydro | Germany | 1966 | 16.4 | 100% | 16.4 | 16.4
Heimbach | Hydro | Germany | 1905 | 16 | 100% | 16 | 16
Koblenz | Hydro | Germany | 1951 | 16 | 100% | 16 | 16
Schwammenauel | Hydro | Germany | 1938 | 14 | 100% | 14 | 14
Zeltingen | Hydro | Germany | 1964 | 13.6 | 100% | 13.6 | 13.6
Serrig (Freudenburg) | Hydro | Germany | 1985 | 12.1 | 100% | 12.1 | 12.1
Various (RWE Economic Stake < 10 MW) | Hydro | Germany | various | 89.78 | various | 45.88 | 48.1
Linne HH 1-4 | Hydro | Netherlands | 1989 | 11 | 100% | 11 | 11
Grevenmacher | Hydro | Luxembourg |  | 7.8 | 50% | 0 | 3.9
Dolgarrog High Head | Hydro | UK | 1907 | 18.4 | 100% | 18.4 | 18.4
Dolgarrog Low Head | Hydro | UK | 1907 | 14.98 | 100% | 14.98 | 14.98
Various (RWE Economic Stake < 10 MW) | Hydro | UK | various | 51 | 100% | 45 | 45
Total hydro |  |  |  | 522.86 |  | 465.16 | 446.486
Biomass
Amercentrale ST 9 | Biomass | Netherlands | 1993 | 505 | 100% | 505 | 505
Eemshaven A | Biomass | Netherlands | 2014 | 118.5 | 100% | 118.5 | 118.5
Eemshaven B | Biomass | Netherlands | 2014 | 118.5 | 100% | 118.5 | 118.5
Markinch | Biomass | UK | 2014 | 55 | 100% | 55 | 55
Neurath BGA | Biomass | Germany | 2022 | 0.8 | 100% | 0.8 | 0.8
Total biomass |  |  |  | 797.8 |  | 797.8 | 797.8
Gas
Emsland B | Gas | Germany | 1973 | 475 | 100% | 475 | 475
Emsland C | Gas | Germany | 1974 | 475 | 100% | 475 | 475
Emsland D | Gas | Germany | 2010 | 927 | 100% | 927 | 927
Gersteinwerk F | Gas | Germany | 1973 | 410 | 100% | 410 | 410
Gersteinwerk G | Gas | Germany | 1973 | 410 | 100% | 410 | 410
Gersteinwerk I | Gas | Germany | 1973 | 410 | 100% | 410 | 410
Gersteinwerk K1 | Gas | Germany | 1984 | 112 | 100% | 112 | 112
GuD Dormagen | Gas | Germany | 2000 | 562 | 100% | 562 | 562
Krefeld GM | Gas | Germany | 2022 | 2.91 | 100% | 2.91 | 2.91
Gersteinwerk H1 | Gas | Germany | 2022 | 46.3 | 100% | 46.3 | 46.3
Moerdijk | Gas | Netherlands | 1996 | 348 | 100% | 348 | 348
Moerdijk 2 | Gas | Netherlands | 2012 | 426 | 100% | 426 | 426
Clauscentrale C | Gas | Netherlands | 2012 | 1304 | 100% | 1304 | 1304
Swentibold CC | Gas | Netherlands | 1999 | 245 | 100% | 245 | 245
Denizli | Gas | Turkey | 2013 | 787 | 100% | 787 | 549.6408
Cheshire | Gas | UK | 2000 | 40 | 100% | 40 | 40
Grimsby | Gas | UK | 2018 | 20 | 100% | 20 | 20
Great Yarmouth | Gas | UK | 2001 | 411 | 100% | 411 | 411
Little Barford | Gas | UK | 1994 | 698 | 100% | 698 | 698
Didcot B | Gas | UK | 1996-1997 | 1440 | 100% | 1440 | 1440
Staythorpe | Gas | UK | 2010 | 1701 | 100% | 1701 | 1701
Hythe | Gas | UK | 2005 | 56 | 100% | 56 | 56
Pembroke | Gas | UK | 2012 | 2181 | 100% | 2181 | 2181
King's Lynn | Gas | UK | 1997 | 382 | 100% | 382 | 382
Weisweiler VGT G, H | Gas | Germany | 2006 | 400 | 100% | 400 | 400
Total gas |  |  |  | 14269.21 |  | 14269.21 | 14031.8508
Pumped storage
Koepchenwerk | Pumped storage | Germany | 1989 | 162 | 100% | 162 | 162
Schluchsee AG | Pumped storage | Germany |  | 1740 | 50% | 0 | 870
Vianden, SEO (Pumpenleistung 836 MW) | Pumped storage | Germany |  | 1294 | 40.3% | 0 | 523.1642
Total pumped storage |  |  |  | 3196 |  | 162 | 1555.1642
Hard coal
GKM | Hard coal | Germany |  | 1978 | 40% | 0 | 791
Amercentrale ST 9 | Hard coal | Netherlands | 1993 | 126 | 100% | 126 | 126
Eemshaven A | Hard coal | Netherlands | 2014 | 671.5 | 100% | 671.5 | 671.5
Eemshaven B | Hard coal | Netherlands | 2014 | 671.5 | 100% | 671.5 | 671.5
Total hard coal |  |  |  | 3447 |  | 1469 | 2260
Lignite
Neurath C | Lignite | Germany | 1973 | 292 | 100% | 292 | 292 | Decommissioning 31 Mar 2024
Neurath D | Lignite | Germany | 1975 | 607 | 100% | 607 | 607 | Decommissioning 31 Mar 2024, Government can opt for an additional year
Neurath E | Lignite | Germany | 1976 | 604 | 100% | 604 | 604 | Decommissioning 31 Mar 2024, Government can opt for an additional year
Neurath G (BoA 2) | Lignite | Germany | 2012 | 1060 | 100% | 1060 | 1060 | Decommissioning 31 Mar 2030, Government can opt for operation until 31 Dec 2033; decision needs to be taken in 2026 at the latest
Neurath F (BoA 3) | Lignite | Germany | 2012 | 1060 | 100% | 1060 | 1060 | Decommissioning 31 Mar 2030, Government can opt for operation until 31 Dec 2033; decision needs to be taken in 2026 at the latest
Niederaußem E | Lignite | Germany | 1970 | 295 | 100% | 295 | 295 | Decommissioning 31 Mar 2024
Niederaußem F | Lignite | Germany | 1971 | 299 | 100% | 299 | 299 | Decommissioning 31 Mar 2024
Niederaußem G | Lignite | Germany | 1974 | 628 | 100% | 628 | 628 | Decommissioning 31 Dec 2029, for one unit Niederaußem G or H, transfer to security reserve until 2033 is possible
Niederaußem H | Lignite | Germany | 1974 | 648 | 100% | 648 | 648 | Decommissioning 31 Dec 2029, for one unit Niederaußem G or H, transfer to security reserve until 2033 is possible
Niederaußem K (BoA 1) | Lignite | Germany | 2002 | 944 | 100% | 944 | 944 | Decommissioning 31 Mar 2030, Government can opt for operation until 31 Dec 2033; decision needs to be taken in 2026 at the latest
Weisweiler F | Lignite | Germany | 1967 | 321 | 100% | 321 | 321 | Decommissioning 1 Jan 2025
Weisweiler G | Lignite | Germany | 1974 | 663 | 100% | 663 | 663 | Decommissioning 1 Apr 2028/2029
Weisweiler H | Lignite | Germany | 1975 | 656 | 100% | 656 | 656 | Decommissioning 1 Apr 2028/2029
Berrenrath | Lignite | Germany |  | 43 | 100% | 43 | 43
Fortuna Nord | Lignite | Germany |  | 11 | 100% | 11 | 11
Frechen / Wachtberg | Lignite | Germany | 1959 | 56 | 100% | 56 | 56
Goldenberg F | Lignite | Germany | 1993 | 63 | 100% | 63 | 63
Total lignite |  |  |  | 8250 |  | 8250 | 8250
Nuclear
KKW Emsland | Nuclear | Germany | 1988 | 1336 | 100% | 1336 | 1336
EPZ | Nuclear | Netherlands | 1973 | 485 | 30% | 145.5 | 145.5
Total nuclear |  |  |  | 1821 |  | 1481.5 | 1481.5
Other
MHKW Karnap | Waste | Germany | 1987 | 38 | 100% | 38 | 38
MVA Weisweiler | Other | Germany | 1996 | 27 | 100% | 27 | 27
SRS Ecotherm | Other | Germany | 2003 | 1 | 100% | 1 | 1
VMA Gersteinwerk | Diesel/Biodiesel | Germany | 2022 | 2.24 | 100% | 2.24 | 2.24
VMA Westfalen | Diesel/Biodiesel | Germany | 2022 | 8.96 | 100% | 8.96 | 8.96
Cowes OCGT | Oil | UK | 1982 | 140 | 100% | 140 | 140
Didcot OCGT | Oil | UK | 1972-1975 | 96 | 100% | 96 | 96
Little Barford OCGT | Oil | UK | 2006 | 17 | 100% | 17 | 17
Total other |  |  |  | 330.2 |  | 330.2 | 330.2
Total generation capacity excl. Wind and Solar |  |  |  | 32634.07 |  | 27224.87 | 29153.001
Total generation capacity Wind and Solar |  |  |  | 17170.374 |  | 12040.284 | 12325.1579
Total generation capacity |  |  |  | 49804.444 |  | 39265.354 | 41478.1589

## CEB acquisition
Power plant | Technology | Country | Commissioned | Net capacity | RWE's legal | Accounting | Pro rata | Accounting treatment | Support regime | Support expiry
[5 empty] | share | view | view
|  |  |  | MW | % | MW | MW
Onshore wind - CEB acquisition
5045 Wind | Onshore Wind | US | 2011 | 3.2 | 100% | 3.2 | 3.2 | 1 | PPA | 2031
Adams Rose | Onshore Wind | US | 2004 | 23 | 100% | 23 | 23 | 1 | PPA | 2023
Aurora | Onshore Wind | US | 2018 | 20 | 100% | 20 | 20 | 1 | PPA | 2038
Big Timber | Onshore Wind | US | 2018 | 25 | 100% | 25 | 25 | 1 | PPA | 2043
Broken Bow II | Onshore Wind | US | 2014 | 75 | 100% | 75 | 75 | 1 | PPA | 2039
Brule | Onshore Wind | US | 2018 | 20 | 100% | 20 | 20 | 1 | PPA | 2038
Campbell County | Onshore Wind | US | 2015 | 95 | 100% | 95 | 95 | 1 | PPA | 2045
Centerville | Onshore Wind | US | 2021 | 8 | 100% | 8 | 8 | 1 | PPA | 2041
FGW | Onshore Wind | US | 2016 | 8 | 100% | 8 | 8 | 1 | PPA | 2046
Manchester | Onshore Wind | US | 2022 | 8 | 100% | 8 | 8 | 1 | PPA | 2042
Mason City | Onshore Wind | US | 2020 | 8 | 100% | 8 | 8 | 1 | PPA | 2040
Oak Tree | Onshore Wind | US | 2014 | 20 | 100% | 20 | 20 | 1 | PPA | 2034
Red Lake Hybrid | Onshore Wind | US | 2020 | 5 | 100% | 5 | 5 | 1 | PPA | 2040
RP Wind | Onshore Wind | US | 2013 | 3.58 | 100% | 3.58 | 3.58 | 1 | PPA | 2033
Valley View | Onshore Wind | US | 2011 | 10 | 100% | 10 | 10 | 1 | PPA | 2031
Woodstock Hills | Onshore Wind | US | 2018 | 9 | 100% | 9 | 9 | 1 | PPA | 2038
Total onshore wind - CEB acquisition |  |  |  | 340.78 |  | 340.78 | 340.78
Solar - CEB acquisition
ADNY | Solar | US | 2019 | 0.4176 | 100% | 0.4176 | 0.4176 | 1 | PPA | 2039
Alamo 3 | Solar | US | 2015 | 6 | 100% | 6 | 6 | 1 | PPA | 2039
Alamo 4 | Solar | US | 2014 | 40 | 100% | 40 | 40 | 1 | PPA | 2039
Alamo 5 | Solar | US | 2015 | 95 | 100% | 95 | 95 | 1 | PPA | 2040
Alamo 7 | Solar | US | 2016 | 106 | 100% | 106 | 106 | 1 | PPA | 2041
Alpaugh 50 | Solar | US | 2013 | 50 | 100% | 50 | 50 | 1 | PPA | 2038
Alpaugh North | Solar | US | 2013 | 20 | 100% | 20 | 20 | 1 | PPA | 2038
Atwell West | Solar | US | 2015 | 20 | 100% | 20 | 20 | 1 | PPA | 2035
Avenal | Solar | US | 2017 | 15 | 100% | 15 | 15 | 1 | PPA | 2037
Battle Mountain (PV) | Solar | US | 2021 | 101 | 100% | 101 | 101 | 1 | PPA | 2046
BNY | Solar | US | 2016 | 0.7876 | 100% | 0.7876 | 0.7876 | 1 | PPA | 2036
Boston Scientific | Solar | US | 2012 | 1.1 | 100% | 1.1 | 1.1 | 1 | PPA | 2032
Brattleboro (90 Tech) | Solar | US | 2014 | 2 | 100% | 2 | 2 | 1 | PPA | 2039
Canton | Solar | US | 2020 | 0.491 | 100% | 0.491 | 0.491 | 1 | PPA | 2040
Cherry Hill | Solar | US | 2016 | 1.5 | 100% | 1.5 | 1.5 | 1 | PPA | 2036
Chicopee | Solar | US | 2017 | 3 | 100% | 3 | 3 | 1 | PPA | 2042
CMS 1 | Solar | US | 2010 | 58 | 100% | 58 | 58 | 1 | PPA | 2030
CMS 2 | Solar | US | 2015 | 155 | 100% | 155 | 155 | 1 | PPA | 2040
CMS 3 | Solar | US | 2015 | 250 | 100% | 250 | 250 | 1 | PPA | 2035
CMS 4 | Solar | US | 2016 | 94 | 100% | 94 | 94 | 1 | PPA | 2040
CMS 5 | Solar | US | 2021 | 250 | 100% | 250 | 250 | 1 | PPA | 2046
Corcoran | Solar | US | 2013 | 20 | 100% | 20 | 20 | 1 | PPA | 2038
Corcoran II | Solar | US | 2015 | 20 | 100% | 20 | 20 | 1 | PPA | 2035
Corcoran III | Solar | US | 2016 | 20 | 100% | 20 | 20 | 1 | PPA | 2036
CVEC | Solar | US | 2010 | 0.747 | 100% | 0.747 | 0.747 | 1 | PPA | 2025
Dartmouth | Solar | US | 2011 | 1.5 | 100% | 1.5 | 1.5 | 1 | PPA | 2046
Dartmouth II | Solar | US | 2012 | 2 | 100% | 2 | 2 | 1 | PPA | 2047
DDR-CT | Solar | US | 2016 | 0.14 | 100% | 0.14 | 0.14 | 1 | PPA | 2041
DDR-NY | Solar | US | 2016 | 0.72 | 100% | 0.72 | 0.72 | 1 | PPA | 2041
DHS | Solar | US | 2013 | 2.474 | 100% | 2.474 | 2.474 | 1 | PPA | 2033
Douglas | Solar | US | 2012 | 2 | 100% | 2 | 2 | 1 | PPA | 2047
Ducor 1 | Solar | US | 2016 | 20 | 100% | 20 | 20 | 1 | PPA | 2036
Ducor 2 | Solar | US | 2016 | 20 | 100% | 20 | 20 | 1 | PPA | 2036
Ducor 3 | Solar | US | 2016 | 15 | 100% | 15 | 15 | 1 | PPA | 2036
Ducor 4 | Solar | US | 2016 | 20 | 100% | 20 | 20 | 1 | PPA | 2036
Fairhaven | Solar | US | 2021 | 2.875 | 100% | 2.875 | 2.875 | 1 | PPA | 2041
Falmouth | Solar | US | 2012 | 0.75 | 100% | 0.75 | 0.75 | 1 | PPA | 2032
Farrell | Solar | US | 2019 | 0.205 | 100% | 0.205 | 0.205 | 1 | PPA | 2044
Flemington | Solar | US | 2011 | 8 | 100% | 8 | 8 | 1 | REC | n/a
Foster | Solar | US | 2017 | 2 | 100% | 2 | 2 | 1 | PPA | 2037
Frenchtown I | Solar | US | 2012 | 3 | 100% | 3 | 3 | 1 | REC | n/a
Frenchtown II | Solar | US | 2011 | 3 | 100% | 3 | 3 | 1 | REC | n/a
Frenchtown III | Solar | US | 2013 | 8 | 100% | 8 | 8 | 1 | REC | n/a
Groveland | Solar | US | 2012 | 3 | 100% | 3 | 3 | 1 | PPA | 2032
GVS 1 | Solar | US | 2018 | 100 | 100% | 100 | 100 | 1 | PPA | 2033
GVS 2 | Solar | US | 2017 | 60 | 100% | 60 | 60 | 1 | PPA | 2037
GVS 3 | Solar | US | 2017 | 20 | 100% | 20 | 20 | 1 | PPA | 2037
GVS 4 | Solar | US | 2017 | 20 | 100% | 20 | 20 | 1 | PPA | 2034
Hogansburg | Solar | US | 2020 | 0.9 | 100% | 0.9 | 0.9 | 1 | PPA | 2045
Kerman 1 | Solar | US | 2013 | 0.43096 | 100% | 0.43096 | 0.43096 | 1 | PPA | 2038
Kerman 2 | Solar | US | 2017 | 0.613 | 100% | 0.613 | 0.613 | 1 | PPA | 2042
Lakehurst | Solar | US | 2020 | 10 | 100% | 10 | 10 | 1 | REC | n/a
Lebanon | Solar | US | 2011 | 2 | 100% | 2 | 2 | 1 | REC | n/a
Little Quittacas | Solar | US | 2013 | 3.5 | 100% | 3.5 | 3.5 | 1 | PPA | 2034
Lost Hills | Solar | US | 2019 | 20 | 100% | 20 | 20 | 1 | n/a | n/a
Marbletown | Solar | US | 2021 | 3 | 100% | 3 | 3 | 1 | PPA | 2046
Merrimac | Solar | US | 2013 | 1.5 | 100% | 1.5 | 1.5 | 1 | PPA | 2033
Montville | Solar | US | 2020 | 0.66 | 100% | 0.66 | 0.66 | 1 | PPA | 2040
Moore | Solar | US | 2019 | 0.132 | 100% | 0.132 | 0.132 | 1 | PPA | 2044
Mount Pleasant | Solar | US | 2022 | 0.51 | 100% | 0.51 | 0.51 | 1 | PPA | 2047
MS 1 | Solar | US | 2012 | 165 | 100% | 165 | 165 | 1 | PPA | 2032
MS 2 | Solar | US | 2016 | 100.8 | 100% | 100.8 | 100.8 | 1 | PPA | 2036
MS 3 | Solar | US | 2016 | 152 | 100% | 152 | 152 | 1 | PPA | 2041
Murray Hill | Solar | US | 2011 | 1 | 100% | 1 | 1 | 1 | PPA | 2026
NBHS | Solar | US | 2013 | 0.428 | 100% | 0.428 | 0.428 | 1 | PPA | 2034
New Bedford | Solar | US | 2011 | 0.335 | 100% | 0.335 | 0.335 | 1 | PPA | 2032
Newark | Solar | US | 2014 | 0.52 | 100% | 0.52 | 0.52 | 1 | PPA | 2034
Northampton | Solar | US | 2020 | 4.32 | 100% | 4.32 | 4.32 | 1 | PPA | 2040
Northbridge | Solar | US | 2013 | 2 | 100% | 2 | 2 | 1 | PPA | 2043
NYC-DCAS | Solar | US | 2015 | 1.66 | 100% | 1.66 | 1.66 | 1 | PPA | 2035
Oro Loma | Solar | US | 2017 | 20 | 100% | 20 | 20 | 1 | PPA | 2037
PA Solar 1 | Solar | US | 2012 | 10 | 100% | 10 | 10 | 1 | REC | n/a
PA Solar 2 | Solar | US | 2020 | 10 | 100% | 10 | 10 | 1 | REC | n/a
Padelford | Solar | US | 2012 | 2.3 | 100% | 2.3 | 2.3 | 1 | PPA | 2032
Panoche | Solar | US | 2017 | 140 | 100% | 140 | 140 | 1 | PPA | 2038
Parkland (Champaign) | Solar | US | 2020 | 1.62 | 100% | 1.62 | 1.62 | 1 | PPA | 2045
Philly TA (SEPTA) | Solar | US | 2020 | 1.72 | 100% | 1.72 | 1.72 | 1 | PPA | 2040
Pilesgrove | Solar | US | 2011 | 18 | 100% | 18 | 18 | 1 | REC | n/a
Pleasantville Country Club | Solar | US | 2020 | 0.28 | 100% | 0.28 | 0.28 | 1 | PPA | 2045
Plymouth | Solar | US | 2016 | 1.099 | 100% | 1.099 | 1.099 | 1 | PPA | 2036
Residential Solar | Solar | US | 1900 | 7.1 | 100% | 7.1 | 7.1 | 1 | n/a | n/a
Ridgefield | Solar | US | 2022 | 0.3 | 100% | 0.3 | 0.3 | 1 | PPA | 2043
Rocklin | Solar | US | 2013 | 0.769 | 100% | 0.769 | 0.769 | 1 | PPA | 2038
Shrewsbury | Solar | US | 2012 | 3 | 100% | 3 | 3 | 1 | PPA | 2032
Spackenkill | Solar | US | 2020 | 0.56 | 100% | 0.56 | 0.56 | 1 | PPA | 2045
Stepinac | Solar | US | 2020 | 0.23 | 100% | 0.23 | 0.23 | 1 | PPA | 2045
Tihonet | Solar | US | 2014 | 1 | 100% | 1 | 1 | 1 | PPA | 2034
Umass Amherst | Solar | US | 2016 | 4.012 | 100% | 4.012 | 4.012 | 1 | PPA | 2036
Umass Amherst 2 | Solar | US | 2022 | 2.907 | 100% | 2.907 | 2.907 | 1 | PPA | 2042
Upton County | Solar | US | 2017 | 158 | 100% | 158 | 158 | 1 | PPA | 2042
VMT | Solar | US | 2015 | 1.149 | 100% | 1.149 | 1.149 | 1 | PPA | 2035
W. Greenwich | Solar | US | 2013 | 1.5 | 100% | 1.5 | 1.5 | 1 | PPA | 2028
Water Strider | Solar | US | 2021 | 80 | 100% | 80 | 80 | 1 | PPA | 2041
Wellesley | Solar | US | 2022 | 0.8 | 100% | 0.8 | 0.8 | 1 | PPA | 2042
Westfield | Solar | US | 2016 | 2 | 100% | 2 | 2 | 1 | PPA | 2036
White River I | Solar | US | 2013 | 20 | 100% | 20 | 20 | 1 | PPA | 2038
White River II | Solar | US | 2014 | 20 | 100% | 20 | 20 | 1 | PPA | 2034
Wilson Assumption | Solar | US | 2013 | 2 | 100% | 2 | 2 | 1 | PPA | 2033
Wistaria | Solar | US | 2018 | 100 | 100% | 100 | 100 | 1 | PPA | 2039
Total solar - CEB acquisition |  |  |  | 2726.3622 |  | 2726.3622 | 2726.3622
Batteries - CEB acquisition
Battle Mountain (ES) | Batteries | US | 2021 | 25 | 100% | 25 | 25 | 1 | PPA | 2046
Total batteries - CEB acquisition |  |  |  | 25 |  | 25 | 25
Total generation capacity CEB acquisition |  |  |  | 3092.1422 |  | 3092.1422 | 3092.1422